

**IALA World-Wide Academy**

**Model Course**

**For**

**Aids to Navigation**

**Level 2 – Technician**

**Photovoltaic (solar panel) systems and maintenance**

**Module 2 Element 2.3**

**(L2.2.3)**

**Edition 2.0**

**December 2014**

10, rue des Gaudines

78100 Saint Germain en Laye, France

Telephone: +33 1 34 51 70 01 Fax: +33 1 34 51 82 05

e-mail: [contact@iala-aism.org](mailto:contact@iala-aism.org) Internet: [www.iala-aism.org](http://www.iala-aism.org)

***AISM***Association Internationale de Signalisation Maritime ***IALA***

International Association of Marine Aids to Navigation and Lighthouse Authorities

DOCUMENT REVISIONS

Revisions to the IALA Document are to be noted in the table prior to the issue of a revised document.

|  |  |  |
| --- | --- | --- |
| **Date** | **Page / Section Revised** | **Requirement for Revision** |
| # December 2014 | Whole document | New Edition in revised standard format |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

FOREWORD

The International Association of Marine Aids to Navigation and Lighthouse Authorities (IALA) recognises that training in all aspects of Aids to Navigation (AtoN) service delivery, from inception through installation and maintenance to replacement or removal at the end of a planned life-cycle, is critical to the consistent provision of that AtoN service.

Under the SOLAS Convention, Chapter 5, Regulation 13, paragraph 2; Contracting Governments, mindful of their obligations published by the International Maritime Organisation, undertake to consider international recommendations and guidelines when establishing aids to navigation. As such publications should include recommendations on the training and qualification of AtoN technicians, IALA has adopted Recommendation E-141 on Standards for Training and Certification of AtoN personnel.

IALA Committees working closely with the IALA World Wide Academy have developed a series of model courses for AtoN personnel having E-141 Level 2 technician functions. This model course on photovoltaic systems and their maintenance should be read in conjunction with the Training Overview Document IALA WWA.L2.0 which contains standard guidance for the conduct of all Level 2 model courses

This model course is intended to provide national members and other appropriate authorities charged with the provision of AtoN services with specific guidance on the training of AtoN technicians in photovoltaic systems and their maintenance. Assistance in implementing this and other model courses may be obtained from the IALA World Wide Academy at the following address:

The Dean

IALA World Wide Academy Tel: (+) 33 1 34 51 70 01

10 rue des Gaudines, 78100 Fax: (+) 33 1 34 51 82 05

Saint Germain-en-Laye e-mail: [academy@iala-aism.org](mailto:academy@iala-aism.org)

France Internet: [www.iala-aism.org](http://www.iala-aism.org)

TABLE OF CONTENTS

DOCUMENT REVISIONS 2

FOREWORD 3

TABLE OF CONTENTS 4

1 PART A - COURSE OVERVIEW 5

1.1 Scope 5

1.2 Objective 5

1.3 Course Outline 5

1.4 Table of Teaching Modules 5

1.5 Specific Course Related Teaching Aids 6

1.6 References 6

2 PART B - TEACHING MODULES 6

2.1 Module 1 – Introduction to Solar Panel Technology 6

2.2 Module 2 – Safety 7

2.3 Module 3 – Installation 7

2.4 Module 4 – Inspection, Testing and Maintenance 8

2.5 Module 5 – Inventory Management and Disposal 9

# PART A - COURSE OVERVIEW

## Scope

This course is intended to provide technicians with the theoretical and practical training necessary to have a satisfactory understanding of the use, servicing and maintenance of photovoltaic systems used in aids to navigation (AtoN).

This course is intended to be supported by further theoretical and practical training modules on aspects of power supply and maintenance records. Details of these supporting model courses can be found in the Level 2 Technician training overview document IALA WWA L2.0.

## Objective

Upon successful completion of this course, participants will have acquired sufficient knowledge to service and maintain photovoltaic systems used on both fixed and floating AtoN.

## Course Outline

This practical course covers the knowledge and practical competence required for a technician to properly service and maintain photovoltaic systems used on buoys, lighthouses and major floating aids. The complete course comprises 5 modules, each of which deals with a specific subject representing an aspect of photovoltaic systems and their maintenance. Each module begins by stating its scope and aims, and then provides a teaching syllabus.

## Table of Teaching Modules

|  |  |  |
| --- | --- | --- |
| **Module Title** | **Time in hours** | **Overview** |
| Introduction to solar panel technology | 1 | This module describes the technology behind photovoltaic systems; the terminology used and the types of solar panels used at AtoN stations |
| Safety | 1 | This module describes how to store and handle solar panels and how to work with solar panels safely at height |
| Installation | 2 | This module describes how to wire and install solar panels on fixed and floating AtoN |
| Inspection, testing and maintenance | 3 | This module describes how to understand manufacturers’ specifications and how to test, inspect, and troubleshoot problems with solar panels |
| Inventory management and disposal | 0.5 | This module describes how to manage an inventory of solar panels and how to recycle or dispose of solar panels in a proper and safe manner |
| Evaluation | 1 | Practical test |
| **Total Hours:** | **8.5** | Total number of days 1.5 |

## Specific Course Related Teaching Aids

1. This course involves both classroom instruction and practical experience in a work area. Classrooms should be equipped with blackboards, whiteboards, and overhead projectors to enable presentation of the subject matter.
2. An alternative to classroom instruction would be to provide the lecture material to participants via distance-learning via the Internet (i.e. ‘e-learning’). In that case, participants would need access to computers and related equipment, and should be provided with a means of interacting with instructors for discussion and to answer questions.
3. For the hands-on portion of the course, work areas should be suitable for trainees to safely and efficiently practice with solar panels and associated equipment. This would include such things as solar panels, wiring, charging equipment and testing equipment. The practical section of working with solar panels requires working in the sun and proper sun protection should be observed. As a minimum this should include:

* Sun screen
* Broad brimmed hat
* Steel-toed shoes

## References

In addition to any specific references required by the Competent Authority, the following material is relevant to this course:

* IALA Guideline 1067-0 on Selection of Power Systems for Aids to Navigation and Associated Equipment
* IALA Guideline 1039 on Design Solar Power Systems for Aids to Navigation Engineering
* IALA Guideline 1067-2 on Power Sources
* Nav Guide Section 7.2.1 Solar Power (Photovoltaic cell)
* Other applicable guidelines and standards would be available from the Institute of Electrical and Electronics Engineers (www.ieee.org), and the International Electrotechnical Commission (www.iec.ch).
* Technical documentation from solar panel manufacturers would be another useful source of information

# PART B - TEACHING MODULES

## Module 1 – Introduction to Solar Panel Technology

### Scope

### This module describes the technology behind photovoltaic systems; the terminology used and the types of solar panels used at AtoN stations.

### Learning Objective

To gain a **basic** understanding of how solar panels work and a **satisfactory** understanding of the types of solar panels most commonly used at AtoN stations.

### Syllabus

Lesson 1 – Solar panel technology

* 1. Physical construction
  2. Principles of operation
  3. Terminology
     1. Service life
     2. Sizing

Lesson 2 – Types of solar panels

* 1. Multi-crystalline cells
  2. Poly-crystalline cells
  3. Amorphous cells
  4. Advantages and disadvantages of each type
  5. Typical applications for each type

## Module 2 – Safety

### Scope

### This module describes how to store and handle solar panels and how to work with solar panels safely at height.

### Learning Objective

To gain a **good** understanding of how to work with solar panels safely, including at height

2.2.3 Syllabus

Lesson 1 Potential Hazards

* 1. Short-circuiting
     1. Methods of prevention
     2. First aid measures
     3. Dangerous voltages
  2. Personal protection
     1. Sun protection
     2. Body protection
     3. Foot protection
  3. Safe handling and storage
     1. Material safety data sheets
     2. Guidelines for transportation and storage
     3. Proper lifting methods
     4. Solar modelling for correct selection

## Module 3 – Installation

### Scope

This module describes how to wire and install solar panels on fixed and floating AtoN.

### Learning Objective

To gain a **satisfactory** understanding of how to install solar panels properly and safely at AtoN stations.

### Syllabus

Lesson 1 Inspection prior to installation

* 1. Physical condition
  2. Date of manufacture

Lesson 2 Wiring

* 1. Series and parallel
  2. Cable types
  3. Connections

Lesson 3 Installation

* 1. Physical requirements
     1. Solar panel orientation
     2. Protection of the solar panels against site environmental conditions
     3. Working at heights
  2. Installing solar panels
     1. Solar panel frames
     2. Dissimilar materials contact
     3. Solar panel terminal boxes

## Module 4 – Inspection, Testing and Maintenance

### Scope

This module describes how to understand manufacturers’ specifications and how to test, inspect, and troubleshoot problems with solar panels.

### Learning Objective

To gain a **satisfactory** understanding of how to inspect, test, and troubleshoot problems with solar panels in a proper and safe manner.

### Syllabus

Lesson 1 Measurement and test equipment

1. Use of a multi-meter

Lesson 2 Tests, inspections and maintenance

* 1. Voltage testing
  2. Short circuit testing
  3. Open circuit testing
  4. Changing orientation of the panels
  5. Insulation resistance
  6. Visual inspection
     1. Corrosion at connections
     2. Condition of cables
     3. Integrity of solar panel support structures and enclosures
     4. Condition of safety equipment
  7. Troubleshooting problems found during tests and inspections

## Module 5 – Inventory Management and Disposal

### Scope

This module describes how to manage an inventory of solar panels and how to recycle or dispose of solar panels in a proper and safe manner.

### Learning Objective

To gain a **satisfactory** understanding of how to manage an inventory of solar panels and a **good** understanding of the policies and regulations in his or her organization which govern the proper management and disposal of solar panels.

### Syllabus

Lesson 1 Inventory management

* 1. Legal requirements and regulations governing solar panel management
  2. Procedures for life-cycle inventory tracking
  3. Solar panel labelling
  4. Inspection records

Lesson 2 Disposal

* 1. Legal requirements and regulations governing solar panel disposal
  2. Methods of disposal
     1. Recycling options
     2. Proper disposal methods
  3. Disposal records